NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/320 Covers, gratings and frames for access chambers

NBS Specification:

NBS Buliding logo

This product is associated with the following NBS clauses:

[P31 Holes, chases, covers and supports for services](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Access-CoversKIGU600600Type3)

* [370 ACCESS COVERS/ GRATINGS FOR](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Access-CoversKIGU600600Type3)

Product Specification:

KIGUM440/550 – Type 7 – Internal Shallow Box

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: In Ground Power Unit

• Type: KIGUM440/550 – Type 7 – Internal Shallow Box

• Size: 440mm wide x 550mm Long x 225mm Deep

• Material: Grade 316L stainless steel/ Grade 304 Stainless steel

• Loading: BS EN 124 FACTA B

• Power sockets: 16a/32a 240v 3 pin IP67 rated Sockets

• Accessories: Meter/ RJ45 Datapoints/ XLR Sockets

Suggested Specification:

KIGU-600/600 – Type 3

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: In Ground Power Unit

• Type: KIGU-600/600/450 – Type 3

• Size: 600mm wide x 600mm Long x 450mm Deep x 70mm Deep Tray

• Material: 1.4401 (316) stainless steel

• Loading: BS EN 124 B125 /FACTA B

• Operation: Closed use

• Power sockets: EP006– 2nr 16amp & 2nr 32a 240v IP67 Sockets

• Accessories: 4nr RJ45 Datapoints