NBS Specification:



This product is associated with the following NBS Create clause:

90-05-20/320 Covers, gratings and frames for access chambers

NBS Specification:

NBS Buliding logo

This product is associated with the following NBS clauses:

[P31 Holes, chases, covers and supports for services](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Access-CoversKIGU600600Type3)

* [370 ACCESS COVERS/ GRATINGS FOR](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=KentStainless-Access-CoversKIGU600600Type3)

Product Specification:

KIGPWU-600/300 – Kent In Ground Potable Water Unit

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: In Ground Power Unit

• Type: KIGPWU-600/300/450 – Potable Water Unit

• Size: 600mm wide x 450mm Long x 450mm Deep x 70mm Deep Tray

• Material: Grade 316L stainless steel/ Grade 304 stainless steel

• Loading: BS EN 124 B125 /FACTA B

• Operation: Closed use

• Accessories: Bib tap/ 110mm diameter outlet/ Non return valve

Suggested Specification:

KIGPWU-600/300 – Kent In Ground Potable Water Unit

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: In Ground Power Unit

• Type: KIGPWU-600/300/450 – Potable Water Unit

• Size: 600mm wide x 450mm Long x 450mm Deep x 70mm Deep Tray

• Material: 1.4401 (316) stainless steel

• Loading: BS EN 124 B125 /FACTA B

• Operation: Closed use

• Accessories: Bib tap/ 110mm diameter outlet/ Non-return valve